## Slide 1: Raw Reduction of Spectroscopic Data
季辰阳、陈瑶鑫

## Slide 2: Day 1: Bias Subtraction of Magellan/PFS Day 2-3: Order Tracing using Narrowflat on PFS Day 4: Flat fielding, scattered light using Wideflat on PFS Day 5: ThAr Wavelength calibration

## Slide 3: Day 1: Bias Subtraction of Magellan/PFS
1.0 Data preparation: reorient the image to our familiar direction
1.1 Bias subtraction by stacking all bias frames.
Image - Bias

## Slide 4: Day 1: Bias Subtraction of Magellan/PFS
Bias
After bias subtraction
After bias subtraction
Before bias subtraction
Take Column 5000 for example

## Slide 5
Day 1: Bias from Overscan Region of APF
30 rows on the bottom are overscan region.

## Slide 6
Day 2-3: Order Tracing using Narrowflat on PFS
2.1 Take one column, and convolve with a thin Gaussian to remove wobbling of counts.
2.2 Find local maximum of 2nd derivative, to get upper and lower edges of traces. (Method 1)
2.2 Apply running window to get upper and lower edges of traces. (Method 2)
2.3 Continue with other columns, and fit a polynomial to get 2D order tracing solution.

## Slide 7
Day 2-3: Order Tracing using Narrowflat on PFS(Method 1)

## Slide 8
NarrowFlat
Day 2-3: Order Tracing using Narrowflat on PFS(Method 1)

## Slide 9
Get the points with values larger than certain percentage of maximum within a 200-pixel window. (Running window)
Day 2-3: Order Tracing using Narrowflat on PFS(Method 2)

## Slide 10
Day 2-3: Order Tracing using Narrowflat on PFS

## Slide 11
Day 4: Flat fielding using Wideflat on PFS
4.1 Use the order center solution got before, make up a wider order range of +/- 14 pixels.
4.2 Values of master flat between orders are 1.
4.3 Values of master flat within orders should remove Blaze function, to reveal difference of quantum efficiency between orders.
4.4 Remove scattered light.
(Image - Bias) / Wideflat

## Slide 12
Day 4: Flat fielding using Wideflat on PFS
Scattered light

## Slide 13
Day 4: Flat fielding using Wideflat on PFS
Flat within order
Counts and fit
Residual

## Slide 14
Day 4: Flat fielding using Wideflat on PFS

## Slide 15
Day 4: Flat fielding using Wideflat on PFS
take five orders for example

## Slide 16
Day 4: Scattered light image
green dots——background
orange dots within the red region——signal

## Slide 17
Day 4: Scattered light image

## Slide 18
Day 4: Flat fielding using Wideflat on PFS
A comparison of spectra before and after flat fielding and scattered light removing:
Flatter and better for SED fitting

## Slide 19
Day 5: ThAr Wavelength calibration
5.1 ThAr atlas from 216 HRS / some other lab spectrum.
5.2 Match observed lines with atlas, and get wavelength solution.
5.3 Do polynomial fitting of wavelength in terms of pixel, and get the final flux v.s. wavelength.
f(pix) --λ(pix)--> f(λ)

## Slide 20
Day 5: ThAr Wavelength calibration

## Slide 21
Day 5: ThAr Wavelength calibration
Credit: Liang Wang